{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["General","Critical Component List","Module Parameter"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":16,"comments":2,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"General","index":0,"n_rows":13,"n_cols":7,"rows_kept":13,"cut":false,"hidden":false,"merged":[[16,1,16,2],[11,1,11,4],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2]]}
[]
[null,"#","Technical Information / \n技術資料","備考","Required /\n 必要","Sent/ \n提出済み","Received /\n 受領済み"]
[null,1,"BOM（Bill of materials）、仕様書","・Critical Component Listシート\n・各モデル用\n・ケーブル仕様書はAWG, Strand, 外径が確認できるもの","X"]
[null,2,"取扱説明書/設置指示書","・各モデル用\n・製品出荷時に同梱されるもの","X"]
[null,3,"電気接続レイアウト・回路図","・各モデル用","X"]
[null,4,"各種図面（モジュール、ラミネート断面図、フレーム、フレーム断面、内部配線、コーナーピース）","・各モデル用\n・各部材の寸法が確認できるもの","X"]
[null,5,"モデル間差異表","・定格情報含む（Parameterシート）","X"]
[null,6,"銘版図面・モールド図","・各モデル用\n・表示位置が確認できるもの","X"]
[null,7,"構造確認用サンプル及び試験用サンプル","・必要数及び対象構造は業務開始後、上記技術資料の確認を行い決定します。","Plan時は不要"]
[]
[]
[null,"Please provide the details about the Laminating machines used at each factory Location. /\n下記、各製造工場にて使用を予定されているラミネーターの情報をご教示願います。"]
[null,"Factory Location /\n工場住所",null,"Laminating Machine Manufacturer / \nラミネーター製造業者","Manufacturers Part # / Type # / \nラミネーターパート名/タイプ名"]

{"sheet":"Critical Component List","index":1,"n_rows":125,"n_cols":12,"rows_kept":125,"cut":false,"hidden":false,"merged":[[30,1,30,11],[44,1,44,11],[61,9,61,10],[60,9,60,10],[62,9,62,10],[63,9,63,10],[59,1,59,11],[42,1,43,1],[42,2,42,5],[42,6,42,10],[57,11,58,11],[57,1,58,1],[57,6,57,10],[57,2,57,5],[42,11,43,11],[58,9,58,10],[15,1,15,11],[1,11,2,11],[1,6,1,10],[1,1,2,1],[1,2,1,5],[3,1,3,11]]}
[]
[null,"Parts/ Parts No. (部品名)","UL Database (Online Certification Directory)",null,null,null,"Actual Part Specifications",null,null,null,null,"Other\n(その他仕様)"]
[null,null,"Manufacturer\n(製造業者)","UL File No.","CCN","Type/Model\n(タイプ/モデル名)","Material \n(材質)","Thickness (mm) \n(厚み)","Dimension (mm)\nW x L x H\n(寸法)","MOT/RTI  (°C)\n(温度定格)","Flammability (難燃定格)"]
[null,"Frame Details (フレーム詳細)"]
[null,"End Frame - Metal (上下フレーム　金属)","N/A","N/A","N/A","N/A",null,null,null,"N/A","N/A","寸法付の図面（全体図・断面図）をご提出願います。"]
[null,"Side Frame - Metal (サイドフレーム　金属)","N/A","N/A","N/A","N/A",null,null,null,"N/A","N/A","寸法付の図面（全体図・断面図）をご提出願います。"]
[null,"Support Frame - Metal (サポートフレーム　金属)","N/A","N/A","N/A","N/A",null,null,null,"N/A","N/A","寸法付の図面（全体図・断面図）をご提出願います。"]
[null,"Corner Piece - Metal (コーナーピース　金属)","N/A","N/A","N/A","N/A",null,null,null,"N/A","N/A","寸法付の図面（全体図・断面図）をご提出願います。"]
[null,"End Frame - Non-Metallic (フレーム上・下側　非金属)",null,null,null,null,"N/A",null,null,null,null,"寸法付の図面（全体図・断面図）をご提出願います。"]
[null,"Side Frame - Non-Metallic (サイドフレーム　非金属)",null,null,null,null,"N/A",null,null,null,null,"寸法付の図面（全体図・断面図）をご提出願います。"]
[null,"Support Frame - Non-Metallic (サポートフレーム　非金属)",null,null,null,null,"N/A",null,null,null,null,"寸法付の図面（全体図・断面図）をご提出願います。"]
[null,"Corner Piece - Non-Metallic (コーナーピース　非金属)",null,null,null,null,"N/A",null,null,null,null,"寸法付の図面（全体図・断面図）をご提出願います。"]
[]
[]
[]
[null,"Laminate Details (ラミネート詳細)"]
[null,"Laminate (ラミネート)","N/A","N/A","N/A","N/A","N/A",null,"N/A","N/A","N/A","寸法付の図面（断面図・構成層）をご提出願います。"]
[null,"Superstrate (表面材)",null,null,null,null,null,null,"N/A",null,"N/A"]
[null,"Encapsulant (ラミネート封止材)",null,null,null,null,null,null,"N/A"]
[null,"Cells (セル)",null,"N/A","N/A",null,null,null,null,"N/A","N/A"]
[null,"Cell-to-Cell Interconnects (セル間コネクター)","N/A","N/A","N/A","N/A",null,null,null,"N/A","N/A"]
[null,"String Interconnects (ストリングコネクター)","N/A","N/A","N/A","N/A",null,null,null,"N/A","N/A"]
[null,"Solder (ハンダ)","N/A","N/A","N/A","N/A",null,"N/A","N/A","N/A","N/A","Material Composition: __________________"]
[null,"Conductive Tape / Adhesive (導電テープ/接着剤)",null,null,null,null,null,"N/A","N/A","N/A","N/A"]
[null,"Insulation Sheet for Interconnects (内部配線絶縁シート)"]
[null,"Substrate (裏面材)",null,null,null,null,null,null,"N/A"]
[]
[]
[]
[]
[null,"Other Polymeric Materials (その他部材)"]
[null,"Edge Seal for Laminate (エッジシール)",null,null,null,null,null,null,"N/A",null," ","HWI = _____, HAI = _____, CTI = _____"]
[null,"Edge Buffer between Frame and Laminate (フレーム緩衝材)",null,null,null,null,null,null,"N/A"]
[null,"Frame Adhesive (フレーム接着剤)",null,null,null,null,null,null,"N/A",null," ","HWI = _____, HAI = _____, CTI = _____"]
[null,"Junction Box Adhesive (ジャンクションボックス接着剤)",null,null,null,null,null,null,"N/A",null," ","HWI = _____, HAI = _____, CTI = _____"]
[null,"Potting material inside J-Box (ジャンクションボックス封止材)",null,null,null,null,null,null,"N/A",null,null,"HWI = _____, HAI = _____, CTI = _____"]
[null,"Gasket (ガスケット)",null,null,null,null,null,null,"N/A",null,"N/A"]
[]
[]
[]
[]
[]
[null,"Parts/ Parts No. (部品名)","UL Database (Online Certification Directory)",null,null,null,"Actual Part Specifications",null,null,null,null,"Other specifications\n(その他仕様)"]
[null,null,"Manufacturer\n(製造業者)","UL File No.","CCN","Type/Model\n(タイプ/モデル名)","Acceptable AWG sizes / Conductor size (AWG)\n(AWG定格 / AWG サイズ)","Temperature rating  (°C)\n(温度定格)","Dimension (mm)\nW x L x H\n(寸法)","Voltage/Current rating  (V/A)\n(電圧/電流定格)","Sunlight Resistant?\nYes / No"]
[null,"Electrical Terminaltion Details (電気接続詳細)"]
[null,"Junction Box (ジャンクションボックス)",null,null,null,null,"N/A",null,null,"N/A","N/A"]
[null,"Strain Relief (ケーブル固定部)",null,"N/A","N/A",null,"N/A","N/A",null,"N/A","N/A","寸法付の図面をご提出願います。"]
[null,"Cable Gland (ケーブル押さえ)",null,null,null,null,null,null,null,"N/A","N/A"]
[null,"Output Cable (出力ケーブル)",null,null,null,null,null,null,"N/A",null,null,"Outer Diameter = _____, Number of strand = _____\n仕様書をご提出願います"]
[null,"Output male Connectors (出力コネクター)",null,null,null,null,null,null,"N/A"]
[null,"Output female Connectors (出力コネクター)",null,null,null,null,null,null,"N/A"]
[null,"Bypass Diode (バイパスダイオード)",null,"N/A","N/A",null,"N/A","N/A","N/A",null,"N/A","Junction temperature(Tj) = ____\n仕様書をご提出願います"]
[]
[]
[]
[]
[]
[null,"Parts/ Parts No. (部品名)","UL Database (Online Certification Directory)",null,null,null,"Actual Part Specifications",null,null,null,null,"Other specifications\n(その他仕様)"]
[null,null,"Manufacturer\n(製造業者)","UL File No.","CCN","Type/Model\n(タイプ/モデル名)","Outdoor rating \nYes / No \n(屋外定格)","Temperature rating  (°C)\n(温度定格)","Application surface\nmaterial type　\n(貼り付け対象面)　　","Appropriate surface?\nYes / No \n(認証範囲内の貼り付け面　　"]
[null,"Label Material (ラベル詳細)"]
[null,"Label (銘版ラベル)",null,null,null,null,null,null,null,null,null,"銘版ラベル図をご提出願います"]
[null,"Grounding Label (接地ラベル)",null,null,null,null,null,null,null,null,null,"接地ラベル図をご提出願います"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Superstrate","Cell","Substrate","Interconnects","Encapsulant","Insulation Sheet","Flame class"]
[]
[]
[null,null,"Glass, Tempered","Mono-crystalline","Film","Copper with solder","EVA","PET","5VA"]
[null,null,"Glass, Tempered - Low-iron","Poly-crystalline","Resin","Silver with solder","Other (Other欄にご記入願います。)","PVF","5VB"]
[null,null,"Glass, Float","Thin-film","Multi-layer Film","Aluminum with solder",null,"Other (Other欄にご記入願います。)","V-0"]
[null,null,"Glass, Float - TCO","Other (Other欄にご記入願います。)","Polymeric (not film based)","Copper with conductive tape",null,null,"V-1"]
[null,null,"Glass, Annealed",null,"Glass","Silver with conductive tape",null,null,"V-2"]
[null,null,"Glass, Annealed - Low-iron",null,"Other (Other欄にご記入願います。)","Aluminum with conductive tape",null,null,"HB"]
[null,null,"Glass, Annealed - Low-iron & TCO",null,null,"Copper with conductive adhesive",null,null,"Other (Other欄にご記入願います。)"]
[null,null,"Glass, other",null,null,"Silver with conductive adhesive",null,null,"N/A"]
[null,null,"Polymeric, PET",null,null,"Aluminum with conductive adhesive"]
[null,null,"Polymeric, PTFE",null,null,"Other (Other欄にご記入願います。)"]
[null,null,"Polymeric, E/TFE"]
[null,null,"Polymeric, other",null,null,null,null,null,"5VA"]
[null,null,"Other (Other欄にご記入願います。)",null,null,null,null,null,"5VB"]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,"CCN"]
[]
[]
[null,null,"PET","Yes","Class A","QMFZ2"]
[null,null,"PVF","No","Class B","QMFZ3"]
[null,null,"Glass",null,"Class C","QIHE2"]
[null,null,"Other (Other欄にご記入願います。)",null,"None","QIHE3"]
[null,null,null,null,null,"OANZ2"]
[null,null,null,null,null,"OANZ3"]
[]
[null,null,null,null,null,"JMST2"]
[null,null,null,null,null,"JMST3"]
[null,null,null,null,null,"JMLU2"]
[null,null,null,null,null,"JMLU3"]
[null,null,null,null,null,"QMFZ2"]
[null,null,null,null,null,"QMFZ3"]
[]
[null,null,null,null,null,"QIIO2"]
[null,null,null,null,null,"QIIO3"]
[null,null,null,null,null,"QIJQ2"]
[null,null,null,null,null,"QIJQ3"]
[]
[null,null,null,null,null,"QCRV"]
[null,null,null,null,null,"QCRV2"]
[]
[null,null,null,null,"USE-2","TYLZ"]
[null,null,null,null,"PV WIRE","ZKLA"]
[]
[null,null,null,null,null,"PGDQ2"]
[null,null,null,null,null,"PGDQ3"]
[null,null,null,null,null,"PGJI2"]
[null,null,null,null,null,"PGJI3"]

{"sheet":"Module Parameter","index":2,"n_rows":1,"n_cols":29,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["Model","Maximum System Voltage (V dc)","Open Circuit Voltage @ STC, (V dc)","Rated Voltage @ STC, (V dc)","Rated Current @ STC, (A)","Short Circuit Current @ STC, (A)","Rated Maximum Power at STC, (Watts)","Maximum Series Fuse, (A)","NOCT (deg. C)","Total Number of Cells","Total Number of Diodes","Total Number of Strings","Number of Cells per Diode","Length (mm)","Width (short side) (mm)","Height (mm)","Weight (kg)","Cell Voltage temperature coefficients\n(% change/deg. K rise) ","Cell Current temperature coefficients\n(% change/deg. K rise) ","Vmp temperature coefficients(V/deg. C)","Imp temperature coefficients\n(A/deg. C) ","Pmp temperature coefficients\n(W/deg. C) ","Module VoltageTemperature Co-Efficient (% change / deg. K rise)","Module Current Temperature Co-Efficient (% change / deg. K rise)","Module Pmax Temperature Co-Efficient (% change / deg. K rise)","Fire Class","Noct\nPmax(W)","Noct\nVpmax(V)","Noct\nIpmax(A)"]